## I-6606
I-6606 | RATE | 1 (Mo) | 2 (Tu) | 3 (We) | 4 (Th) | 5 (Fr) | 6 (Sa) | 7 (Su) | 8 (Mo) | 9 (Tu) | 10 (We) | 11 (Th) | 12 (Fr) | 13 (Sa) | 14 (Su) | 15 (Mo) | 16 (Tu) | 17 (We) | 18 (Th) | 19 (Fr) | 20 (Sa) | 21 (Su) | 22 (Mo) | 23 (Tu) | 24 (We) | 25 (Th) | 26 (Fr) | 27 (Sa) | 28 (Su) | 29 (Mo) | 30 (Tu) | 31 (We) | TOTAL | Qty. Rate | AMOUNT
1. PKR No. |  |  | 21204187 |  | 21204978 |  |  |  | 21206079 |  |  | 21207790 |  | 21208274 |  | 21208170 |  | 21209408 | 21209863 | 21210131 | 21210475 |  | 21211010 | 21211450 | 21211821 |  | 21212564 | 21213047 |  |  |  | 21214297
2. PKR No. | [8 empty] | 21206085 |  |  | 21207444 |  |  |  | 21208194 | [7 empty] | 21211440
3. PKR No. | [11 empty] | 21207440
4. PKR No.
1. Credit Memo No. | [8 empty] | 10210136 | [8 empty] | 10210406
2. Credit Memo No.
I N S T A L L A T I O N VB ( P I P I N G L E N G T H )
WALL MOUNTED FCU
9k - 12k Btu | 50
18k Btu ( 1/2 " pipe) | 50
18k-29k Btu ( 5/8" pipe) | 60
> 29 k Btu | 75
TOTAL A | 0 | [32 empty] | 0
PIPING FEET
3/8" PIPE | 2.6
1/2" PIPE | 2.9
5/8" PIPE | 4.25
1/2" rubber w/o trunking | 0.3
ex 1/2" rubber | 0.7
S/S NO 6 | 15 | [14 empty] | 1 | [6 empty] | 1 | 1 | [8 empty] | 3 | 0 | 45
S/S NO 9 | 15 | [10 empty] | 1 |  | 1 |  | 1 |  |  | 2 | [13 empty] | 5 | 0 | 75
RAC | 50
RAC 18k - 29k | 55
RAC (Drain Pipe) | 10
TIARA/CASEMENT | 45
A/Curtain | 20
TOTAL B | 0 | [10 empty] | 1 |  | 1 |  | 2 |  |  | 2 |  |  |  | 1 | 1 | [8 empty] | 8 | 0 | 120
CASSETTE/CEILING
FCU with piping | 310
FCU without piping | 150
Piping 5/8" | 3.8
Piping 3/4" | 4.3
Install water tray | 15
Drain pipe(>10ft) | 0 |  | 1 |  | 1 |  |  |  | 1 |  |  | 1 |  |  |  | 2 |  |  |  | 1 |  |  |  | 2 | 1 |  | 1 | 1 |  |  |  |  | 12 | 0
TOTAL C | 0 |  | 1 |  | 1 |  |  |  | 1 |  |  | 1 |  |  |  | 2 |  |  |  | 1 |  |  |  | 2 | 1 |  | 1 | 1 |  |  |  |  | 12 | 0
DISMANTLING
RAC (Low) | 2 | [12 empty] | 1 |  | 1 | [16 empty] | 2 | 0 | 4
RAC (High) | 12
FCU - SYS 1 | 5 | [7 empty] | 1 |  |  | 1 | [11 empty] | 1 | [8 empty] | 3 | 1 | 15
FCU - SYS 2 | 10 | [14 empty] | 1 |  |  | 1 | [12 empty] | 1 | 6 | 2 | 30
FCU - SYS 3 | 15 |  |  |  | 1 | [19 empty] | 1 |  | 1 | 1 |  |  |  |  | 12 | 3 | 60
FCU - SYS 4 | 20
FCU - SYS 5 | 25
Cassettes/Ceiling | 5
CU | 20 |  |  |  | 1 |  |  |  | 1 |  |  | 1 |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 |  | 1 | 1 |  |  |  | 1 | 10 | 0 | 200
TOTAL D | 0 |  |  |  | 2 |  |  |  | 2 |  |  | 2 |  | 1 |  | 3 |  |  | 2 |  |  |  |  | 2 | 2 |  | 2 | 2 |  |  |  | 2 | 22 | 0 | 309
POWER POINT/ISOLATOR WITH WIRING
15A, 2.5mm cable | 100
20A, 2.5mm cable | 120
32A, 4.0mm cable | 150
20A, 3phase 2.5mm cable | 170
32A, 3phase 4.0mm cable | 220
TOTAL E | 0 | [32 empty] | 0
WIRING EXTENSION
3C 70 wiring | 1
13A Power Point, Looping wiring | 50
Cover Plywood | 5
Install MCB | 5
TOTAL F | 0 | [32 empty] | 0
TOTAL A to F ( total earned (invoice)) | 0 |  | 1 |  | 3 |  |  |  | 3 |  |  | 4 |  | 2 |  | 7 |  |  | 4 | 1 |  |  | 1 | 5 | 3 |  | 3 | 3 |  |  |  | 2 | 42 | 0 | 429
OTHER REIMBURSEMENT (for System 1 wall mounted)
Water Pump | 45
Use old pipes (9k-12k Btu) (-$50) | 80
Use old pipes (18k Btu) 1/2" pipe (-$50) | 90
Use old pipes (18k-29k Btu) 5/8" pipe (-$50) | 100
Use old pipes for >29k-36k Btu (-$50) | 155
2 Invoices | 45
TOTAL G | 0 | [32 empty] | 0
CONCEALED PIPE
Conceal Pipe (Normal Finishing) | 2
Conceal Pipe (Good Finishing) | 2.5
Compensate FCU & Shift Fancoil | 45
TOTAL H | 0 | [32 empty] | 0
TOTAL G + H ( total earned (non invoice)) | 0 | [32 empty] | 0
I N S T A L L A T I O N VB ( N O P I P I N G L E N G T H )
WALL MOUNTED FCU (Sys 1 to 6)
1 x FCU | 170 | [7 empty] | 1 |  |  | 2 |  | 1 |  |  |  |  | 2 |  |  |  | 1 | 2 | [8 empty] | 9 | 1 | 1530
2 x FCU | 330 | [14 empty] | 2 | [15 empty] | 1 | 6 | 2 | 990
3 x FCU | 495 |  |  |  | 1 | [19 empty] | 1 |  | 1 | 1 |  |  |  |  | 12 | 3 | 1980
4 x FCU | 700 |  | 1 | [14 empty] | 1 | [14 empty] | 8 | 4 | 1400
5 x FCU | 850
Armaflex insulation 3/4" Per FCU | 60
Armaflex insulation 3/4" SYS 1 | 60
Armaflex insulation 3/4" SYS 2 | 120
Armaflex insulation 3/4" SYS 3 | 180
Armaflex insulation 3/4" SYS 4 | 240
Armaflex insulation 3/4" SYS 5 | 300
Armaflex insulation 1/2" per FCU | 25
Armaflex insulation 1/2" SYS 1 | 25 | [7 empty] | 1 |  |  | 1 |  | 1 |  |  |  |  | 2 |  |  |  | 1 | 2 | [8 empty] | 8 | 1 | 200
Armaflex insulation 1/2" SYS 2 | 50 | [14 empty] | 2 | [15 empty] | 1 | 6 | 2 | 150
Armaflex insulation 1/2" SYS 3 | 75 |  |  |  | 1 | [19 empty] | 1 |  | 1 | 1 |  |  |  |  | 12 | 3 | 300
Armaflex insulation 1/2" SYS 4 | 100 |  | 1 | [16 empty] | 1 | [12 empty] | 8 | 4 | 200
Armaflex insulation 1/2" SYS 5 | 125
TOTAL I ( total earned ( no piping length invoice)) | 0 |  | 2 |  | 2 |  |  |  | 2 |  |  | 3 |  | 2 |  | 4 |  | 1 | 4 | 1 |  |  | 2 | 4 | 2 |  | 2 | 2 |  |  |  | 2 | 35 | 0 | 6750
TOTAL FCU | 0 | [32 empty] | 0
OTHER REIMBURSEMENT (2nd Trip put up FCU)
1 x FCU | 65
2 x FCU | 120
3 x FCU | 185
4 x FCU | 280
5 x FCU | 325
TOTAL J | 0 | [32 empty] | 0
Run piping 3/8"
1 x FCU | 65
2 x FCU | 120
3 x FCU | 185
4 x FCU | 280 | [16 empty] | -1 |  | 1 | [13 empty] | 4
5 x FCU | 325
Run piping 1/2" | 10
Run piping 5/8" | 30
G22 copper pipe SYS 1 | 10 | [7 empty] | 1 |  |  | 1 |  | 1 |  |  |  |  | 2 |  |  |  | 1 | 2 | [8 empty] | 8 | 1 | 80
G22 copper pipe SYS 2 | 20 | [14 empty] | 2 | [15 empty] | 1 | 6 | 2 | 60
G22 copper pipe SYS 3 | 30 |  |  |  | 1 | [19 empty] | 1 |  | 1 | 1 |  |  |  |  | 12 | 3 | 120
G22 copper pipe SYS 4 | 40 |  | 1 | [16 empty] | 1 | [12 empty] | 8 | 4 | 80
G22 copper pipe SYS 5 | 50
Put up Ceiling cassette | 100
Run piping for Ceiling cassette | 210
2 Invoices | 45
TOTAL K | 0 |  | 1 |  | 1 |  |  |  | 1 |  |  | 1 |  | 1 |  | 2 |  | -1 | 2 | 2 |  |  | 1 | 2 | 1 |  | 1 | 1 |  |  |  | 1 | 17 | 0 | 340
USE BACK OLD PIPE
1 x FCU | 60 | [10 empty] | -1 | [20 empty] | -1 | 1 | -60
2 x FCU | 120
3 x FCU | 195
4 x FCU | 260
5 x FCU | 300
Bracket 9 P
Use old pipe 1/2" WSR (+) | 30
Use old pipe 5/8" WSR (-) | 45
Run Pipe per FCU
1/2" Pipe | 10
Cut & Patch Ceiling & Touch up Cut Ceiiling | 20
System 4 without BTO | 10
Misc - Installation | 0
Others & Construct Pelmet | 50
TOTAL L | 0 | [10 empty] | -1 | [20 empty] | -1 | 0 | -60
TOTAL J + K + L ( total earned ( No piping length -Non invoice)) | 0 |  | 1 |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  | 2 |  | -1 | 2 | 2 |  |  | 1 | 2 | 1 |  | 1 | 1 |  |  |  | 1 | 16 | 0 | 280
Net Total | 0 |  | 4 |  | 6 |  |  |  | 6 |  |  | 7 |  | 5 |  | 13 |  |  | 10 | 4 |  |  | 4 | 11 | 6 |  | 6 | 6 |  |  |  | 5 | 93 | 0 | 7459